|  |  |  |
| --- | --- | --- |
| **Type** | **Brand** | **Quantity** |
| Syringe Pumps | BD | 157 |
| Syringe Pumps | CME | 107 |
| Volumetric Pump | MR | 3 |
| Volumetric Pump | BD | 278 |
| Volumetric Pump | ICU UK | 37 |
| PCA | Smiths | 20 |
| Epidural | CME | 13 |
| Targeted Controlled Infusion | BD | 6 |
| Elastomeric Pumps | Not on asset register |  |
| Dose Error reduction Software | Not used |  |