## Jan 22
Medical / Surgical Secretaries ~ Block 64 | As you walk into the ladies toilet, the toilet on the left hand side appears to be leaking from the base of the actual toilet. There was a large pool of water in the cubicle. Thanks for your help. | 2022-08-02 08:16 | 2022-08-02
Farley Stroke Ward ~PFI AREA D4 L2.S.10 | toilet seat in disabled toilet along main corridor to farley ward needs replacing | 2022-07-18 15:11 | 2022-07-18 15:17
Location | Information
None | N/A | 2022-06-29 14:14 | 2022-06-29
Location | Information | 2022-06-23 07:23 | 2022-06-28
None | N/A | 2022-06-01 14:04 | 2022-06-04
Location | Information | 2022-05-05 11:47 | 2022-05-05
None | N/A | 2022-04-29 17:07 | 2022-05-04
Location | Information | 2022-04-07 10:30 | 2022-04-11
None | N/A | 2022-03-30 13:18 | 2022-03-30
Location | Information | 2022-03-09 08:31 | 2022-03-09
None | N/A | 2022-03-07 10:27 | 2022-03-07
Location | Information | 2022-02-16 12:28 | 2022-05-03
None | N/A

## Feb 22
Location | Information
None | N/A

## Mar 22
Location | Information
None | N/A

## April 22
Location | Information
X-Ray | X-Ray. Attend to flood and blocked drains.

## May 22
Location | Information
Nunton Kitchen | sewerage leak from sluice

## June 22
Location | Information
None | N/A

## July 22
Location | Information
Maternity | Pipes leaking smells like sewage, unsure of contents. Please can someone come to see as this is a working office space.

## Aug 22
Location | Information
Nunton Unit Lounge | Discharge Team behind Nunton Unit lounge: Leak from upstairs into cealing panels, next to light fitting.

## Sept 22
Location | Information
Nuclear Medicine | Waste leak from floor above

## Oct 22
Location | Information
Main Entrance & Reception | sewage coming through manhole cover

## Nov 22
Location | Information
Pitton Ward | sewage leak in bay 1 bathroom
X-Ray B. | Leak into X-ray form Radnor drain
Pharmacy | sewerage leak from above
Pharmacy | sewerage leak from above
Nuclear Medicine | sewerage leak from above

## Dec 22
Location | Information
Nuclear Medicine | Waste leak from floor above